## General
|  |  | Acid(pH4.5) | Acid(pH8.3) | ALK | ALKPP | CaCO3 | CaCO3-d | Cl-d | CO3 | Colour | COND | DOC | HCO3 | NH3 | OH | pH | SO4-d | TDS | TOC | TSS | TURB
Station | Date | Sample Type | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | TCU | µmho/cm | mg/L | mg/L | mg/L | mg/L |  | mg/L | mg/L | mg/L | mg/L | NTU
P2001-2A | 2010-06-13 | FIELD BLANK | <0.5 | <0.5 | <0.5 | <0.5 |  | <0.5 |  | <0.5 |  | <1 |  | <0.5 |  | <0.5 | 5.3 | <0.5 |  |  | <1
Deionized Water |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <1.0 | <0.5 | <0.5 | <0.005 | <0.5 | 5.95 | <0.5 | <10.0 | <0.5 | <4.0 | <0.1
Times greater than DI water |  |  | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0.65 | 1 | 0 | 0 | 0.25 | 0
Comments
Action
Result
V37 | 2010-06-13 | FIELD BLANK | <0.5 | <0.5 | 1.9 | <0.5 |  | <0.5 |  | <0.5 |  | 2 |  | 2.3 |  | <0.5 | 5.8 | <0.5 |  |  | <1
Deionized Water |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <1.0 | <0.5 | <0.5 | <0.005 | <0.5 | 5.95 | <0.5 | <10.0 | <0.5 | <4.0 | <0.1
Times greater than DI water |  |  | 1 | 1 | 3.8 | 1 | 0 | 1 | 0 | 1 | 0 | 2 | 0 | 4.6 | 0 | 1 | 0.15 | 1 | 0 | 0 | 0.25 | 0
Comments
Action
Result
SRK05-9 | 2010-08-05 | FIELD BLANK | <0.5 | <0.5 | 1.3 | <0.5 |  | <0.5 | <0.5 | <0.5 |  | 2 |  | 1.6 |  | <0.5 | 5.91 | <0.5 |  |  | <1
Deionized Water |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <1.0 | <0.5 | <0.5 | <0.005 | <0.5 | 5.95 | <0.5 | <10.0 | <0.5 | <4.0 | <0.1
Times greater than DI water |  |  | 1 | 1 | 2.6 | 1 | 0 | 1 | 1 | 1 | 0 | 2 | 0 | 3.2 | 0 | 1 | 0.04 | 1 | 0 | 0 | 0.25 | 0
Comments
Action
Result
SRK05-9 | 2010-10-07 | FIELD BLANK | <0.5 | <0.5 | <0.5 | <0.5 |  | <0.5 | <0.5 | <0.5 |  | 2 |  | <0.5 |  | <0.5 | 5.07 | 1.1 |  |  | <1
Deionized Water |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <1.0 | <0.5 | <0.5 | <0.005 | <0.5 | 5.95 | <0.5 | <10.0 | <0.5 | <4.0 | <0.1
Times greater than DI water |  |  | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 2 | 0 | 1 | 0 | 1 | 0.88 | 2.2 | 0 | 0 | 0.25 | 0
Comments
Action
Result
SRK05-9 | 2010-11-18 | FIELD BLANK | <0.5 | <0.5 | 1.1 | <0.5 |  | <0.5 | 0.7 | <0.5 |  | <1 |  | 1.3 |  | <0.5 | 5.65 | <0.5 |  |  | <1
Deionized Water |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <1.0 | <0.5 | <0.5 | <0.005 | <0.5 | 5.95 | <0.5 | <10.0 | <0.5 | <4.0 | <0.1
Times greater than DI water |  |  | 1 | 1 | 2.2 | 1 | 0 | 1 | 1.4 | 1 | 0 | 1 | 0 | 2.6 | 0 | 1 | 0.3 | 1 | 0 | 0 | 0.25 | 0
Comments
Action
Result
SRK05-9 | 2010-12-16 | FIELD BLANK | <0.5 | <0.5 | 1.3 | <0.5 |  | 0.6 | <0.5 | <0.5 |  | 2 |  | 1.6 |  | <0.5 | 5.89 | <0.5 |  |  | <1
Deionized Water |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <1.0 | <0.5 | <0.5 | <0.005 | <0.5 | 5.95 | <0.5 | <10.0 | <0.5 | <4.0 | <0.1
Times greater than DI water |  |  | 1 | 1 | 2.6 | 1 | 0 | 1.2 | 1 | 1 | 0 | 2 | 0 | 3.2 | 0 | 1 | 0.06 | 1 | 0 | 0 | 0.25 | 0
Comments
Action
Result
Blank value < PQL
Blank value is a detection limit higher than that of DI water
Blank value > PQL and < retest limit
Blank value > retest limit (20X DI Water Detection Limit, or >1 pH unit difference from DI Water)

## Diss. Metals
|  |  | Ag-d | Al-d | As-d | Ba-d | B-d | Be-d | Bi-d | Ca-d | Cd-d | Co-d | Cr-d | Cu-d | Fe-d | K-d | Li-d | Mg-d | Mn-d | Mo-d | Na-d | Ni-d | Pb-d | Sb-d | Se-d | Si-d | Sn-d | Sr-d | Ti-d | Tl-d | U-d | V-d | Zn-d | Zr-d
Station | Date | Sample Type | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | mg/L | µg/L | µg/L | µg/L | µg/L | µg/L | mg/L | mg/L | mg/L | µg/L | µg/L | mg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L
P2001-2A | 2010-06-13 | FIELD BLANK | <0.005 | 1.5 | <0.02 | 0.77 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | 8 | <0.05 | <0.0005 | <0.05 | 0.4 | <0.05 | <0.05 | 0.03 | 0.144 | <0.02 | <0.04 | <100 | <0.01 | 0.12 | <0.5 | <0.002 | <0.002 | <0.2 | 1.7 | <0.1
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 1 | 7.5 | 1 | 38.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 8 | 1 | 0.001 | 1 | 8 | 1 | 1 | 1.5 | 28.8 | 1 | 1 | 1 | 1 | 2.4 | 1 | 1 | 1 | 1 | 17 | 1
Comments |  |  |  | Blank concentration > PQL and correctly entered into emLine. |  | Blank concentration > PQL and correctly entered into emLine. | [8 empty] | Blank concentration > PQL and correctly entered into emLine. |  |  |  | Blank concentration > PQL and correctly entered into emLine. |  |  |  | Blank concentration > PQL and correctly entered into emLine. | [9 empty] | Blank concentration > PQL and correctly entered into emLine.
Action |  |  |  | Let Value Stand |  | Request Retest | [8 empty] | Let Value Stand |  |  |  | Let Value Stand |  |  |  | Request Retest | [9 empty] | Let Value Stand
Result |  |  |  | High blank value remains. |  | Retest performed, see results below. | [8 empty] | High blank value remains. |  |  |  | High blank value remains. |  |  |  | Retest performed, see results below. | [9 empty] | High blank value remains.
P2001-2A Retest | 2010-06-13 | FIELD BLANK |  |  |  | 0.72 | [16 empty] | 0.144
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Comments | [5 empty] | Retest for June 13 P2001-2A blank. Blank concentration > PQL and correctly entered into emLine. | [16 empty] | Retest for June 13 P2001-2A blank. Blank concentration > PQL and correctly entered into emLine.
Action | [5 empty] | Let Value Stand | [16 empty] | Let Value Stand
Result | [5 empty] | New blank value entered into emLine. | [16 empty] | New blank value entered into emLine.
V37 | 2010-06-13 | FIELD BLANK | <0.005 | 12.4 | <0.02 | 0.51 | <50 | <0.01 | 0.008 | <0.05 | <0.005 | 0.025 | <0.1 | 3.72 | 45 | <0.05 | <0.0005 | <0.05 | 1.34 | <0.05 | <0.05 | 0.12 | 2.01 | <0.02 | <0.04 | <100 | 0.07 | 0.18 | <0.5 | <0.002 | <0.002 | <0.2 | 5.5 | <0.1
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 1 | 62 | 1 | 25.5 | 1 | 1 | 1.6 | 1 | 1 | 5 | 1 | 74.4 | 45 | 1 | 0.001 | 1 | 26.8 | 1 | 1 | 6 | 402 | 1 | 1 | 1 | 7 | 3.6 | 1 | 1 | 1 | 1 | 55 | 1
Comments |  |  |  | Blank concentration > PQL and correctly entered into emLine. |  | Blank concentration > PQL and correctly entered into emLine. | [5 empty] | Blank concentration > PQL and correctly entered into emLine. |  | Blank concentration > PQL and correctly entered into emLine. | Blank concentration > PQL and correctly entered into emLine. |  |  |  | Blank concentration > PQL and correctly entered into emLine. |  |  | Blank concentration > PQL and correctly entered into emLine. | Blank concentration > PQL and correctly entered into emLine. |  |  |  | Blank concentration > PQL and correctly entered into emLine. | [5 empty] | Blank concentration > PQL and correctly entered into emLine.
Action |  |  | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest | Request Retest
Result |  |  | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below. | Retest performed, see results below.
V37 Retest | 2010-06-13 | FIELD BLANK | <0.005 | 9.1 | <0.02 | 0.46 | <50 | <0.01 | 0.014 | <0.06 | <0.006 | 0.021 | <0.1 | 4.31 | 21 | <0.05 | <0.0005 | <0.05 | 1.06 | <0.05 | <0.05 | 0.09 | 1.35 | <0.02 | <0.04 | <100 | 0.1 | 0.19 | <0.5 | <0.002 | <0.002 | <0.2 | 4.4 | <0.1
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 1 | 45.5 | 1 | 23 | 1 | 1 | 2.8 | 1.2 | 1.2 | 4.2 | 1 | 86.2 | 21 | 1 | 0.001 | 1 | 21.2 | 1 | 1 | 4.5 | 270 | 1 | 1 | 1 | 10 | 3.8 | 1 | 1 | 1 | 1 | 44 | 1
Comments |  |  | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. Blank concentration > PQL and correctly entered into emLine. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. Blank concentration > PQL and correctly entered into emLine. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. Blank concentration > PQL and correctly entered into emLine. | Retest for June 13 V37 blank. Blank concentration > PQL and correctly entered into emLine. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. Blank concentration > PQL and correctly entered into emLine. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. Blank concentration > PQL and correctly entered into emLine. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. | Retest for June 13 V37 blank. Blank concentration > PQL and correctly entered into emLine. | Retest for June 13 V37 blank.
Action |  |  | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand | Let Value Stand
Result |  |  | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine. | New blank value entered into emLine.
SRK05-9 | 2010-08-05 | FIELD BLANK | <0.005 | 1.5 | <0.02 | 0.17 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | 0.008 | <0.1 | <0.05 | 2 | <0.05 | <0.0005 | <0.05 | 0.58 | <0.05 | <0.05 | 0.04 | 0.436 | <0.02 | <0.04 | <100 | <0.01 | 0.09 | <0.5 | <0.002 | 0.003 | <0.2 | 2.2 | <0.1
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 1 | 7.5 | 1 | 8.5 | 1 | 1 | 1 | 1 | 1 | 1.6 | 1 | 1 | 2 | 1 | 0.001 | 1 | 11.6 | 1 | 1 | 2 | 87.2 | 1 | 1 | 1 | 1 | 1.8 | 1 | 1 | 1.5 | 1 | 22 | 1
Comments |  |  |  | Blank concentration > PQL and correctly entered into emLine. |  | Blank concentration > PQL and correctly entered into emLine. | [12 empty] | Blank concentration > PQL and correctly entered into emLine. |  |  |  | Blank concentration > PQL and correctly entered into emLine. | [9 empty] | Blank concentration > PQL and correctly entered into emLine.
Action |  |  |  | Let Value Stand |  | Let Value Stand | [12 empty] | Let Value Stand |  |  |  | Request Retest | [9 empty] | Request Retest
Result |  |  |  | High blank value remains. |  | High blank value remains. | [12 empty] | High blank value remains. |  |  |  | Retest performed, see results below. | [9 empty] | Retest performed, see results below.
SRK05-9 Retest | 2010-08-05 | FIELD BLANK | [20 empty] | 0.488 | [9 empty] | 2.3
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0
Comments | [22 empty] | Retest for August 5 SRK05-9 blank. Blank concentration > PQL and correctly entered into emLine. | [9 empty] | Retest for August 5 SRK05-9 blank. Blank concentration > PQL and correctly entered into emLine.
Action | [22 empty] | Let Value Stand | [9 empty] | Let Value Stand
Result | [22 empty] | New blank value entered into emLine. | [9 empty] | New blank value entered into emLine.
SRK05-9 | 2010-10-07 | FIELD BLANK | <0.005 | 1.9 | <0.02 | 0.16 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | 0.06 | 2 | <0.05 | <0.0005 | <0.05 | 0.51 | <0.05 | <0.05 | 0.03 | 0.261 | <0.02 | <0.04 | <100 | <0.01 | 0.08 | <0.5 | <0.002 | 0.005 | <0.2 | 1.5 | <0.1
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 1 | 9.5 | 1 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.2 | 2 | 1 | 0.001 | 1 | 10.2 | 1 | 1 | 1.5 | 52.2 | 1 | 1 | 1 | 1 | 1.6 | 1 | 1 | 2.5 | 1 | 15 | 1
Comments |  |  |  | Blank concentration > PQL and correctly entered into emLine. |  | Blank concentration > PQL and correctly entered into emLine. | [12 empty] | Blank concentration > PQL and correctly entered into emLine. |  |  |  | Blank concentration > PQL and correctly entered into emLine. | [9 empty] | Blank concentration > PQL and correctly entered into emLine.
Action |  |  |  | Let Value Stand |  | Let Value Stand | [12 empty] | Let Value Stand |  |  |  | Request Retest | [9 empty] | Let Value Stand
Result |  |  |  | High blank value remains. |  | High blank value remains. | [12 empty] | High blank value remains. |  |  |  | Retest performed, see results below. | [9 empty] | High blank value remains.
SRK05-9 Retest | 2010-10-07 | FIELD BLANK | [20 empty] | 0.273
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Comments | [22 empty] | Retest for October 7 SRK05-9 blank. Blank concentration > PQL and correctly entered into emLine.
Action | [22 empty] | Let Value Stand
Result | [22 empty] | New blank value entered into emLine.
SRK05-9 | 2010-11-18 | FIELD BLANK | <0.005 | 0.9 | <0.02 | 0.16 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.0005 | <0.05 | 0.13 | <0.05 | <0.05 | 0.03 | 0.151 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | 0.5 | <0.1
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 1 | 4.5 | 1 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.001 | 1 | 2.6 | 1 | 1 | 1.5 | 30.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 1
Comments | [5 empty] | Blank concentration > PQL and correctly entered into emLine. | [16 empty] | Blank concentration > PQL and correctly entered into emLine. | [9 empty] | Blank concentration equal to PQL and correctly entered into emLine.
Action | [5 empty] | Let Value Stand | [16 empty] | Request Retest | [9 empty] | Let Value Stand
Result | [5 empty] | High blank value remains. | [16 empty] | Retest performed, see results below. | [9 empty] | High blank value remains.
SRK05-9 Retest | 2010-11-18 | FIELD BLANK | [20 empty] | 0.171
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Comments | [22 empty] | Retest for November 18 SRK05-9 blank. Blank concentration > PQL and correctly entered into emLine.
Action | [22 empty] | Let Value Stand
Result | [22 empty] | New blank value entered into emLine.
|  |  |  | Blank value < PQL | [15 empty] | Blank value < PQL
|  |  |  | Blank value is a detection limit higher than that of DI water | [15 empty] | Blank value is a detection limit higher than that of DI water
|  |  |  | Blank value > PQL and < retest limit | [15 empty] | Blank value > PQL and < retest limit
|  |  |  | Blank value > retest limit (20X DI Water Detection Limit) | [15 empty] | Blank value > retest limit (20X DI Water Detection Limit)
SRK05-9 | 2010-12-16 | FIELD BLANK | <0.005 | 0.7 | <0.02 | 0.06 | <50 | <0.01 | 0.169 | 0.12 | <0.005 | 0.017 | <0.1 | 0.1 | 5 | <0.05 | <0.0005 | 0.06 | 1.3 | <0.05 | <0.05 | 0.09 | 0.045 | <0.02 | <0.04 | <100 | <0.01 | 0.43 | <0.5 | <0.002 | 0.007 | <0.2 | 4.8 | <0.1
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 1 | 3.5 | 1 | 3 | 1 | 1 | 33.8 | 2.4 | 1 | 3.4 | 1 | 2 | 5 | 1 | 0.001 | 1.2 | 26 | 1 | 1 | 4.5 | 9 | 1 | 1 | 1 | 1 | 8.6 | 1 | 1 | 3.5 | 1 | 48 | 1
Comments | [8 empty] | Blank concentration > PQL and correctly entered into emLine. | [5 empty] | Blank concentration equal to PQL and correctly entered into emLine. |  |  |  | Blank concentration > PQL and correctly entered into emLine. |  |  |  | Blank concentration > PQL and correctly entered into emLine. |  |  |  |  | Blank concentration > PQL and correctly entered into emLine. |  |  |  |  | Blank concentration > PQL and correctly entered into emLine.
Action | [8 empty] | Request Retest | [5 empty] | Let Value Stand |  |  |  | Request Retest |  |  |  | Let Value Stand |  |  |  |  | Let Value Stand |  |  |  |  | Request Retest
Result | [8 empty] | Retest performed, see results below. | [5 empty] | High blank value remains. |  |  |  | Retest performed, see results below. |  |  |  | High blank value remains. |  |  |  |  | High blank value remains. |  |  |  |  | Retest performed, see results below.
SRK05-9 Retest | 2010-12-16 | FIELD BLANK | [6 empty] | 0.189 | [9 empty] | 1.24 | [13 empty] | 4.6
Deionized Water |  |  | <0.005 | <0.2 | <0.02 | <0.02 | <50 | <0.01 | <0.005 | <0.05 | <0.005 | <0.005 | <0.1 | <0.05 | <1 | <0.05 | <0.5 | <0.05 | <0.05 | <0.05 | <0.05 | <0.02 | <0.005 | <0.02 | <0.04 | <100 | <0.01 | <0.05 | <0.5 | <0.002 | <0.002 | <0.2 | <0.1 | <0.1
Times greater than DI water |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 37.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0
Comments | [8 empty] | Retest for December 16 SRK05-9 blank. Blank concentration > PQL and correctly entered into emLine. | [9 empty] | Retest for December 16 SRK05-9 blank. Blank concentration > PQL and correctly entered into emLine. | [13 empty] | Retest for December 16 SRK05-9 blank. Blank concentration > PQL and correctly entered into emLine.
Action | [8 empty] | Let Value Stand | [9 empty] | Let Value Stand | [13 empty] | Let Value Stand
Result | [8 empty] | New blank value entered into emLine. | [9 empty] | New blank value entered into emLine. | [13 empty] | New blank value entered into emLine.
|  |  |  | Blank value < PQL | [15 empty] | Blank value < PQL
|  |  |  | Blank value is a detection limit higher than that of DI water | [15 empty] | Blank value is a detection limit higher than that of DI water
|  |  |  | Blank value > PQL and < retest limit | [15 empty] | Blank value > PQL and < retest limit
|  |  |  | Blank value > retest limit (20X DI Water Detection Limit) | [15 empty] | Blank value > retest limit (20X DI Water Detection Limit)

## Refs
Change Value
Let Value Stand
Remove Value
Change Value
Let Value Stand
Remove Value
Request Retest