## General
|  |  | Acid(pH4.5) | Acid(pH8.3) | ALK | ALKPP | CaCO3 | CaCO3-d | Chloride | CN(wad) | CNTHIO | CO3 | Colour | COND | DOC | HCO3 | NH3 | OH | pH | SO4-d | TDS | TOC | TSS | TURB
Station | Date | Sample Type | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | TCU | µmho/cm | mg/L | mg/L | mg/L | mg/L |  | mg/L | mg/L | mg/L | mg/L | NTU
P09-VC1 | 2010-09-20 | M | <0.5 | 3.4 | 140 | <0.5 |  | 178 | <0.5 |  |  | <0.5 |  | 390 |  | 170 |  | <0.5 | 8.02 | 62 |  |  | 42
P09-VC1 | 2010-09-20 | SPLIT | <0.5 | 3.3 | 140 | <0.5 |  | 175 | <0.5 |  |  | <0.5 |  | 395 |  | 170 |  | <0.5 | 7.99 | 55 |  |  | 39
RPD (%) |  |  | N/A | 2.9851 | 0 | N/A | N/A | 1.6997 | N/A | N/A | N/A | N/A | N/A | 1.2739 | N/A | 0 | N/A | N/A | 0.03 | 11.9658 | N/A | N/A | 7.4074 | N/A
Comments
Action
Result
SRK05-9 | 2010-11-04 | M | <0.5 | 22.3 | 340 | <0.5 |  | 1560 | <0.5 |  |  | <0.5 |  | 2300 |  | 420 |  | <0.5 | 8.23 | 1200 |  |  | 360
SRK05-9 | 2010-11-04 | SPLIT | <0.5 | 17.1 | 350 | <0.5 |  | 1580 | 0.7 |  |  | <0.5 |  | 2300 |  | 430 |  | <0.5 | 8.11 | 1200 |  |  | 320
RPD (%) |  |  | N/A | 26.3959 | 2.8986 | N/A | N/A | 1.2739 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | 2.3529 | N/A | N/A | 0.12 | 0 | N/A | N/A | 11.7647 | N/A
Comments
Action
Result
RPD > 50%

## Diss. Metals
|  |  | Ag-d | Al-d | As-d | Ba-d | B-d | Be-d | Bi-d | Ca-d | Cd-d | Co-d | Cr-d | Cu-d | Fe-d | Hg-d | K-d | Li-d | Mg-d | Mn-d | Mo-d | Na-d | Ni-d | Pb-d | Sb-d | S-d | Se-d | Si-d | Sn-d | Sr-d | Ti-d | Tl-d | U-d | V-d | Zn-d | Zr-d
Station | Date | Sample Type | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | mg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | mg/L | mg/L | mg/L | µg/L | µg/L | mg/L | µg/L | µg/L | µg/L | mg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L
P09-VC1 | 2010-09-20 | M | <0.005 | 3.7 | 18.3 | 20 | <50 | <0.01 | <0.005 | 53.6 | 0.006 | 0.042 | <0.1 | 0.16 | 741 |  | 1.25 | 0.006 | 10.8 | 33 | 2.54 | 13.5 | 0.27 | 0.156 | 0.05 | 22 | <0.04 | 5750 | <0.01 | 714 | <0.5 | <0.002 | 5.32 | <0.2 | 9.1 | <0.1
P09-VC1 | 2010-09-20 | SPLIT | <0.005 | 5.1 | 17.9 | 21 | <50 | <0.01 | <0.005 | 53 | 0.006 | 0.04 | <0.1 | 0.15 | 743 |  | 1.23 | 0.0061 | 10.4 | 32.9 | 2.4 | 12.9 | 0.27 | 0.155 | 0.07 | 22 | <0.04 | 5730 | <0.01 | 736 | <0.5 | <0.002 | 5.47 | <0.2 | 9.4 | <0.1
RPD (%) |  |  | N/A | 31.8182 | 2.2099 | 4.878 | N/A | N/A | N/A | 1.1257 | 0 | 4.878 | N/A | 6.4516 | 0.26954 | N/A | 1.6129 | 1.6529 | 3.7736 | 0.30349 | 5.668 | 4.5455 | 0 | 0.64309 | 33.3333 | 0 | N/A | 0.34843 | N/A | 3.0345 | N/A | N/A | 2.7804 | N/A | 3.2432 | N/A
Comments
Action
Result
SRK05-9 | 2010-11-04 | M | <0.03 | 4 | 0.6 | 38.7 | <300 | <0.05 | <0.03 | 290 | 0.28 | 0.17 | <0.5 | 2.1 | 26 |  | 5.1 | 0.009 | 204 | 27.6 | 1.1 | 11.7 | 2.4 | 0.66 | <0.1 | 424 | 0.6 | 4940 | 0.1 | 904 | <3 | <0.01 | 31.9 | <1 | 81.2 | <0.5
SRK05-9 | 2010-11-04 | SPLIT | <0.03 | 4 | 0.7 | 38.3 | <300 | <0.05 | <0.03 | 291 | 0.25 | 0.1 | <0.5 | 1.8 | 12 |  | 5.2 | 0.009 | 207 | 12.8 | 1 | 11.8 | 1.5 | 0.53 | <0.1 | 435 | 0.6 | 4990 | 0.09 | 891 | <3 | <0.01 | 31.4 | <1 | 87.9 | <0.5
RPD (%) |  |  | N/A | 0 | 15.3846 | 1.039 | N/A | N/A | N/A | 0.34423 | 11.3208 | 51.8519 | N/A | 15.3846 | 73.6842 | N/A | 1.9417 | 0 | 1.4599 | 73.2673 | 9.5238 | 0.85106 | 46.1538 | 21.8487 | N/A | 2.5611 | 0 | 1.007 | 10.5263 | 1.4485 | N/A | N/A | 1.5798 | N/A | 7.9243 | N/A
Comments | [11 empty] | Both values correctly entered into emLine; however, split value not > PQL. Therefore, RPD analysis not valid in this case. |  |  | Both values correctly entered into emLine; however, split value not > PQL. Therefore, RPD analysis not valid in this case. |  |  |  |  | Both values > PQL and correctly entered into emLine.
Action | [11 empty] | Let Value Stand |  |  | Let Value Stand |  |  |  |  | Let Value Stand
Result | [11 empty] | Discrepancy between values remains. |  |  | Discrepancy between values remains. |  |  |  |  | Discrepancy between values remains.
RPD > 50%
RPD > 100%

## Refs
Request Retest
Change Value | N/A
Let Value Stand
Remove Value
Request Retest
Change Value |  | N/A
Let Value Stand
Remove Value