## aliquot 1_5-20-2015
Electron Microprobe Analyses
Customer: L. Lane/P. O'Sullivan
Date: 5/20/2015
Project: Apatite
*Excess Oxygen from Halogens |  |  |  | filtered out in Sheet 2 |  |  |  | Below detection limit
BDL = Below Detection Limit
Sample Information |  |  |  | Concentrations (in wt. %) | [15 empty] | Detection Limits (in wt. %) | [12 empty] | Analytical Error (Counting Statistics, in relative %, 1-σ)
Sample Name | Number | Line | Grain # | Y2O3 | La2O3 | Ce2O3 | FeO | MnO | MgO | CaO | SrO | Na2O | P2O5 | SO3 | Cl | F | O* | Total | Spurious? | Y2O3 | La2O3 | Ce2O3 | FeO | MnO | MgO | CaO | SrO | Na2O | P2O5 | SO3 | Cl | F | Y2O3 | La2O3 | Ce2O3 | FeO | MnO | MgO | CaO | SrO | Na2O | P2O5 | SO3 | Cl | F | Date/Time
013-12-AgeGrains | 53 | 879 | 1 | 0.12396 | 0.13713 | 0.28369 | 0.35852 | 0.06183 | 0.062983 | 54.5561 | 0.009275 | 0.084723 | 41.337 | 0.02218 | 0.37386 | 3.2188 | -1.4398 | 99.1903 |  | 0.038649 | 0.062073 | 0.061341 | 0.024622 | 0.022947 | 0.007272 | 0.021735 | 0.034266 | 0.011177 | 0.019716 | 0.007905 | 0.00858 | 0.026043 | 22.2673 | 27.6081 | 14.0535 | 5.3602 | 24.1201 | 10.1326 | 0.31706 | 210.752 | 9.8725 | 0.72958 | 45.1416 | 2.5926 | 0.66499 | 42147.8688
013-12-AgeGrains | 53 | 880 | 3 | 0.203 | 0.031964 | 0.16216 | 0.59439 | 0.14846 | 0.15329 | 54.2594 | 0.029628 | 0.061143 | 42.2152 | 0.007401 | 0.89857 | 2.2395 | -1.1458 | 99.8583 |  | 0.036767 | 0.063413 | 0.061593 | 0.023502 | 0.023869 | 0.007226 | 0.022924 | 0.03419 | 0.011456 | 0.020606 | 0.008013 | 0.008592 | 0.026616 | 14.4024 | 112.306 | 23.1504 | 3.5515 | 11.2036 | 4.7164 | 0.3182 | 69.0161 | 13.388 | 0.72142 | 130.67 | 1.5858 | 0.86203 | 42147.8722
013-12-AgeGrains | 53 | 881 | 4 | BDL | 0.002404 | 0.075051 | 0.087677 | 0.07573 | 0.000444 | 56.1086 | 0.077119 | 0.039261 | 42.3495 | 0.1648 | 0.003117 | 3.5417 | -1.4921 | 101.0333 | HIGH TOTALS | 0.039755 | 0.060439 | 0.056489 | 0.023825 | 0.022797 | 0.007101 | 0.021011 | 0.038063 | 0.010832 | 0.01827 | 0.007986 | 0.008947 | 0.02591 | -1688.7 | 1392.76 | 43.9936 | 17.8393 | 19.8548 | 1251.86 | 0.31279 | 31.585 | 19.1317 | 0.7208 | 8.3658 | 137.75 | 0.62459 | 42147.8756
013-12-AgeGrains | 53 | 882 | 5 | 0.12925 | 0.06106 | 0.21382 | 0.48301 | 0.1384 | 0.18637 | 54.5194 | 0.012976 | 0.087034 | 41.6866 | 0.13246 | 1.1237 | 2.1937 | -1.1773 | 99.7905 |  | 0.039835 | 0.066213 | 0.057934 | 0.023982 | 0.02363 | 0.007418 | 0.019277 | 0.039348 | 0.011341 | 0.018746 | 0.008177 | 0.008546 | 0.025766 | 21.9494 | 62.4488 | 17.2285 | 4.1864 | 11.8303 | 4.1012 | 0.31736 | 173.226 | 9.7427 | 0.72618 | 9.9659 | 1.4063 | 0.86348 | 42147.8791
013-12-AgeGrains | 53 | 883 | 6 | 0.097118 | 0.38491 | 0.96542 | 0.25232 | 0.14259 | 0.06861 | 54.0838 | 0.011728 | 0.30243 | 40.2364 | 0.68475 | 0.29958 | 2.7955 | -1.2448 | 99.0803 |  | 0.037062 | 0.067416 | 0.056827 | 0.02394 | 0.024033 | 0.007749 | 0.022082 | 0.035332 | 0.011454 | 0.024431 | 0.008699 | 0.008592 | 0.025897 | 26.6635 | 11.9225 | 5.1667 | 7.0198 | 11.6712 | 9.8785 | 0.31835 | 172.629 | 3.6679 | 0.74176 | 3.3525 | 2.9604 | 0.72934 | 42147.8826
013-12-AgeGrains | 53 | 884 | 7 | 0.18058 | 0.074077 | 0.16845 | 0.48646 | 0.27273 | 0.1444 | 54.1317 | 0.050336 | 0.17372 | 41.4626 | 0.35689 | 0.91457 | 2.4156 | -1.2236 | 99.6085 |  | 0.037657 | 0.063346 | 0.052995 | 0.022948 | 0.023772 | 0.007468 | 0.021052 | 0.037295 | 0.011335 | 0.018751 | 0.007731 | 0.008906 | 0.025721 | 16.0317 | 49.8676 | 19.8572 | 4.0715 | 6.6598 | 5.0566 | 0.31853 | 45.5469 | 5.514 | 0.72819 | 4.8755 | 1.5758 | 0.80612 | 42147.886
013-12-AgeGrains | 53 | 885 | 11 | 0.051045 | 0.076844 | 0.11714 | 0.5038 | 0.083646 | 0.30168 | 53.7344 | 0.084254 | 0.058401 | 41.8638 | 0.016073 | 0.44439 | 1.7865 | -0.85257 | 98.2694 |  | 0.037915 | 0.06022 | 0.059608 | 0.022884 | 0.022668 | 0.007115 | 0.021799 | 0.037808 | 0.011102 | 0.019737 | 0.00793 | 0.009027 | 0.026572 | 48.3269 | 46.0453 | 30.3765 | 3.9629 | 18.0283 | 2.7941 | 0.31989 | 29.0859 | 13.6081 | 0.7253 | 61.3011 | 2.3666 | 1.0168 | 42147.8895
013-12-AgeGrains | 53 | 886 | 17 | 0.1832 | 0.058132 | 0.10613 | 0.52287 | 0.22108 | 0.25873 | 54.5032 | 0.034927 | 0.043673 | 41.4485 | 0.05357 | 1.3019 | 1.7109 | -1.0142 | 99.4326 |  | 0.034656 | 0.061311 | 0.059432 | 0.023602 | 0.022365 | 0.00729 | 0.021243 | 0.03294 | 0.011431 | 0.021915 | 0.008172 | 0.008194 | 0.026428 | 15.0959 | 60.9997 | 33.2117 | 3.9122 | 7.6104 | 3.1595 | 0.31757 | 57.3994 | 18.1397 | 0.72852 | 20.9131 | 1.2974 | 1.0469 | 42147.8929
013-12-AgeGrains | 53 | 887 | 20 | 0.12756 | 0.037361 | 0.12965 | 0.42061 | 0.078319 | 0.16938 | 55.0292 | 0.006089 | 0.041461 | 41.9256 | 0.030838 | 0.62481 | 1.9928 | -0.98014 | 99.6335 |  | 0.038143 | 0.06587 | 0.058667 | 0.02391 | 0.023712 | 0.007139 | 0.020866 | 0.036024 | 0.011129 | 0.017202 | 0.008318 | 0.008222 | 0.026371 | 21.532 | 100.004 | 27.2895 | 4.648 | 19.9026 | 4.3251 | 0.31594 | 334.408 | 18.608 | 0.72387 | 34.7582 | 1.9262 | 0.93555 | 42147.8964
013-12-AgeGrains | 53 | 888 | 21 | 0.1999 | BDL | 0.032803 | 0.16505 | 0.18585 | -0.00022 | 55.8557 | 0.017223 | 0.083577 | 42.2214 | 0.066655 | 0.007687 | 3.8079 | -1.6052 | 101.0383 | HIGH TOTALS | 0.035761 | 0.063946 | 0.057838 | 0.02316 | 0.022476 | 0.007377 | 0.021945 | 0.03075 | 0.011074 | 0.023571 | 0.008257 | 0.00916 | 0.025278 | 14.3566 | -114.58 | 99.7704 | 9.8584 | 8.8314 | -2646 | 0.31351 | 104.807 | 9.923 | 0.72253 | 17.4702 | 58.5301 | 0.59105 | 42147.8998
013-12-AgeGrains | 53 | 889 | 22 | 0 | 0.014683 | 0.081255 | 0.39177 | 0.18323 | 0.065447 | 54.1153 | 0.0172 | 0.062775 | 40.6057 | 0.18714 | 0.76316 | 1.7598 | -0.91323 | 97.3342 |  | 0.037606 | 0.063267 | 0.058824 | 0.023487 | 0.021982 | 0.007085 | 0.020637 | 0.038094 | 0.010687 | 0.017723 | 0.007862 | 0.008582 | 0.026864 | -86179510 | 240.87 | 42.3093 | 4.8637 | 8.8023 | 9.588 | 0.31859 | 127.756 | 12.3926 | 0.73547 | 7.5733 | 1.7322 | 1.0346 | 42147.9033
013-12-AgeGrains | 53 | 890 | 24 | 0.040107 | 0.17407 | 0.45876 | 0.34865 | 0.045983 | 0.20354 | 54.3409 | 0.15097 | 0.07435 | 41.7047 | 0.10254 | 0.45196 | 1.992 | -0.94079 | 99.1477 |  | 0.034863 | 0.06291 | 0.059546 | 0.02407 | 0.024134 | 0.007162 | 0.020167 | 0.037012 | 0.011159 | 0.022402 | 0.007889 | 0.008998 | 0.025829 | 56.2508 | 22.5037 | 9.2398 | 5.4079 | 33.4175 | 3.7574 | 0.31775 | 17.6018 | 11.0397 | 0.72745 | 11.927 | 2.3414 | 0.92632 | 42147.9068
013-12-LenGrains | 54 | 891 | 2 | 0.16306 | 0.10953 | 0.24647 | 0.55744 | 0.17814 | 0.13703 | 53.8979 | 0.026498 | 0.067361 | 41.3087 | 0.032679 | 0.90774 | 2.2253 | -1.1419 | 98.7159 |  | 0.0388 | 0.059663 | 0.056226 | 0.024115 | 0.022828 | 0.007217 | 0.020425 | 0.033842 | 0.010705 | 0.020184 | 0.007806 | 0.008317 | 0.026811 | 17.749 | 32.8213 | 14.8984 | 3.7696 | 9.2551 | 5.1649 | 0.31919 | 75.9566 | 11.6662 | 0.72995 | 31.2926 | 1.5736 | 0.86896 | 42147.9102
013-12-LenGrains | 54 | 892 | 3 | 0.14621 | 0.11006 | 0.19032 | 0.37839 | 0.20293 | 0.18165 | 53.8156 | 0.051677 | 0.21655 | 41.5595 | 0.49981 | 0.63401 | 2.3905 | -1.1497 | 99.2275 |  | 0.039569 | 0.060359 | 0.058449 | 0.023977 | 0.022874 | 0.007129 | 0.020408 | 0.036797 | 0.011317 | 0.023574 | 0.007668 | 0.008738 | 0.025468 | 19.6849 | 32.9958 | 19.2225 | 5.0559 | 8.2983 | 4.0922 | 0.31943 | 43.986 | 4.65 | 0.72833 | 3.9505 | 1.9245 | 0.80901 | 42147.9136
013-12-LenGrains | 54 | 893 | 4 | 0.006748 | 0.011206 | 0.18585 | 0.47227 | 0.077871 | 0.27013 | 54.4828 | 0.07339 | 0.038886 | 41.5725 | 0.004319 | 0.44195 | 1.9451 | -0.9188 | 98.6642 |  | 0.040569 | 0.063739 | 0.055857 | 0.023302 | 0.022189 | 0.00712 | 0.021169 | 0.036572 | 0.011788 | 0.018264 | 0.008155 | 0.008245 | 0.026392 | 363.672 | 317.097 | 18.9584 | 4.1962 | 18.9118 | 3.0281 | 0.31747 | 32.0079 | 20.7389 | 0.72744 | 225.423 | 2.3398 | 0.95238 | 42147.9171
013-12-LenGrains | 54 | 894 | 5 | 0.1519 | 0.035457 | 0.12484 | 0.5046 | 0.10788 | 0.18306 | 54.1932 | 0.03651 | 0.091113 | 41.7975 | 0.17563 | 1.1534 | 2.25 | -1.2077 | 99.5974 |  | 0.035224 | 0.064037 | 0.057774 | 0.023821 | 0.022872 | 0.007456 | 0.020506 | 0.033967 | 0.01111 | 0.023142 | 0.00831 | 0.008925 | 0.025925 | 17.6872 | 102.448 | 27.8907 | 4.0359 | 14.4058 | 4.1705 | 0.31837 | 56.5424 | 9.2284 | 0.72556 | 8.1298 | 1.3908 | 0.84996 | 42147.9206
013-12-LenGrains | 54 | 895 | 6 | 0.12333 | 0.29245 | 0.98827 | 0.27664 | 0.13636 | 0.084281 | 53.3654 | 0.045557 | 0.29856 | 40.2055 | 0.72585 | 0.28812 | 3.0472 | -1.3482 | 98.5293 |  | 0.032655 | 0.065081 | 0.056938 | 0.024066 | 0.024435 | 0.007301 | 0.021549 | 0.036211 | 0.011794 | 0.020711 | 0.008251 | 0.009601 | 0.025819 | 20.0008 | 14.6634 | 5.0863 | 6.5251 | 12.3026 | 7.8628 | 0.32046 | 48.7127 | 3.7494 | 0.74134 | 3.2075 | 3.1119 | 0.68658 | 42147.924
013-12-LenGrains | 54 | 896 | 11 | 0.14847 | 0.057911 | 0.081226 | 0.41425 | 0.095999 | 0.14422 | 54.5729 | 0.047924 | 0.02751 | 40.6799 | 0.012936 | 0.58669 | 2.013 | -0.98005 | 97.9029 |  | 0.037528 | 0.0593 | 0.058526 | 0.023831 | 0.022797 | 0.00729 | 0.021279 | 0.034596 | 0.010937 | 0.019233 | 0.008241 | 0.008467 | 0.025915 | 18.761 | 59.3923 | 42.1314 | 4.6943 | 15.9692 | 4.9835 | 0.31718 | 44.7921 | 26.8637 | 0.73518 | 78.1005 | 1.9999 | 0.92191 | 42147.9274
013-12-LenGrains | 54 | 897 | 12 | 0.005335 | BDL | 0.14997 | 0.38572 | 0.15356 | 0.081599 | 54.5419 | 0.038353 | 0.06559 | 41.7886 | 0.14796 | 0.73473 | 1.7213 | -0.89064 | 98.924 |  | 0.038825 | 0.064783 | 0.057296 | 0.023673 | 0.02222 | 0.007172 | 0.023277 | 0.035554 | 0.011004 | 0.022748 | 0.008478 | 0.008749 | 0.026724 | 439.601 | -94.597 | 23.434 | 4.9452 | 10.315 | 7.9685 | 0.31762 | 56.1576 | 12.1898 | 0.72579 | 9.3366 | 1.773 | 1.0489 | 42147.9309
013-12-LenGrains | 54 | 898 | 13 | 0.10451 | 0.011735 | 0.1405 | 0.46578 | 0.1703 | 0.19385 | 54.9143 | 0.054527 | 0.030603 | 42.3573 | 0.037653 | 0.52599 | 1.9254 | -0.92946 | 100.003 | HIGH TOTALS | 0.038768 | 0.068157 | 0.055832 | 0.023958 | 0.02293 | 0.007413 | 0.021776 | 0.036879 | 0.011305 | 0.023559 | 0.008487 | 0.008573 | 0.026288 | 25.8425 | 323.562 | 24.3411 | 4.3015 | 9.6511 | 3.9739 | 0.31627 | 41.97 | 25.0181 | 0.72114 | 29.4605 | 2.1312 | 0.9578 | 42147.9343
013-12-LenGrains | 54 | 899 | 15 | 0.000983 | BDL | 0.035963 | 0.038044 | 0.050477 | 0.002559 | 56.1667 | 0.070094 | 0.00499 | 42.5692 | 0.12771 | 0.023055 | 3.0818 | -1.3029 | 100.8687 | HIGH TOTALS | 0.040095 | 0.069434 | 0.058588 | 0.024207 | 0.022112 | 0.007246 | 0.022659 | 0.032928 | 0.011305 | 0.018245 | 0.007949 | 0.008813 | 0.026033 | 2446.05 | -40.404 | 92.3373 | 39.9585 | 28.2617 | 222.523 | 0.31278 | 30.823 | 145.572 | 0.71849 | 10.0993 | 20.3661 | 0.68699 | 42147.9378

## aliquot 2_10-9-2016
Electron Microprobe Analyses
Customer: D. Issler/L. Lane/NRC
Date: 10/9/2016
Project: Apatite
*Excess Oxygen from Halogens
BDL = Below Detection Limit
Sample Information |  |  |  | Concentrations (in wt. %) | [15 empty] | Detection Limits (in wt. %) | [12 empty] | Analytical Error (Counting Statistics, in relative %, 1-σ)
Sample Name | Number | Line | Grain # | Y2O3 | La2O3 | Ce2O3 | FeO | MnO | MgO | CaO | SrO | Na2O | P2O5 | SO3 | Cl | F | O* | Total | Spurious? | Y2O3 | La2O3 | Ce2O3 | FeO | MnO | MgO | CaO | SrO | Na2O | P2O5 | SO3 | Cl | F | Y2O3 | La2O3 | Ce2O3 | FeO | MnO | MgO | CaO | SrO | Na2O | P2O5 | SO3 | Cl | F
013-12A-AdditionalGrains | 22 | 427 | 1 | 0.057532 | 0.063463 | 0.20712 | 0.43485 | 0.085591 | 0.27429 | 53.8123 | 0.13669 | 0.074 | 41.4478 | 0.10308 | 0.22107 | 2.9233 | -1.2809 | 98.5602 |  | 0.023424 | 0.034788 | 0.03287 | 0.019894 | 0.013293 | 0.0061134 | 0.015896 | 0.020136 | 0.0094775 | 0.022192 | 0.0091887 | 0.005389 | 0.032496 | 32.1698 | 40.6122 | 12.7974 | 4.4569 | 12.0835 | 2.3487 | 0.32785 | 13.9763 | 10.642 | 0.71229 | 8.2661 | 3.4429 | 0.8785
013-12A-AdditionalGrains | 22 | 428 | 2 | 0.032655 | 0.045527 | 0.14198 | 0.089301 | 0.064385 | BDL | 54.3609 | 0.16858 | 0.058064 | 41.0324 | 0.20876 | 0.009132 | 3.3978 | -1.4329 | 98.1781 |  | 0.023391 | 0.034765 | 0.032847 | 0.019872 | 0.013278 | 0.0061084 | 0.015877 | 0.020104 | 0.0094708 | 0.022162 | 0.0091738 | 0.005379 | 0.032218 | 54.1097 | 55.8483 | 17.9638 | 17.1097 | 15.6912 | 286.58 | 0.32614 | 11.8931 | 13.1465 | 0.71565 | 4.8751 | 44.1499 | 0.79248
013-12A-AdditionalGrains | 22 | 429 | 3 | 0.10659 | 0.076886 | 0.28186 | 0.24119 | 0.073625 | 0.013223 | 54.14 | 0.068427 | BDL | 39.8591 | 0.1289 | 0.29951 | 2.4884 | -1.1154 | 96.67 | LOW TOTALS | 0.023461 | 0.034917 | 0.032989 | 0.01996 | 0.013337 | 0.0061317 | 0.015934 | 0.02018 | 0.0095099 | 0.022224 | 0.0091962 | 0.005394 | 0.033067 | 18.7985 | 33.9561 | 9.817 | 7.1512 | 13.9108 | 33.7266 | 0.32674 | 24.6599 | 88.5184 | 0.72588 | 6.9454 | 2.8567 | 0.9907
013-12A-AdditionalGrains | 22 | 430 | 4 | 0.097449 | 0.33916 | 0.73154 | 0.37339 | 0.078892 | 0.17267 | 53.3977 | 0.32 | 0.12284 | 40.0785 | 0.23549 | 0.40641 | 2.4739 | -1.1334 | 97.6945 |  | 0.023616 | 0.035143 | 0.033201 | 0.020105 | 0.013434 | 0.0061847 | 0.016035 | 0.020343 | 0.0095867 | 0.022394 | 0.0092637 | 0.005438 | 0.032781 | 20.3823 | 9.0277 | 4.5865 | 5.0401 | 13.128 | 3.3546 | 0.32877 | 7.5755 | 7.0248 | 0.72512 | 4.4989 | 2.3919 | 0.98811
013-12A-AdditionalGrains | 22 | 431 | 5 | 0.094151 | 0.045553 | 0.11118 | 0.087634 | 0.051462 | 0.015067 | 55.1476 | 0.10088 | 0.01051 | 41.6025 | 0.032871 | 0.010857 | 3.4229 | -1.4438 | 99.2893 |  | 0.023377 | 0.034748 | 0.032832 | 0.019861 | 0.013271 | 0.0061035 | 0.015867 | 0.02009 | 0.0094654 | 0.022146 | 0.0091688 | 0.005375 | 0.032486 | 20.8315 | 55.7911 | 22.4978 | 17.4008 | 19.3429 | 29.5834 | 0.32367 | 17.7674 | 65.3619 | 0.71025 | 21.8733 | 37.49 | 0.79075
013-12A-AdditionalGrains | 22 | 432 | 7 | 0.041922 | 0.15013 | 0.28068 | 0.19257 | 0.067913 | 0.008416 | 55.0795 | 0.0475 | 0.03924 | 40.901 | 0.2041 | 0.040115 | 3.3108 | -1.4032 | 98.9606 |  | 0.023444 | 0.034852 | 0.032929 | 0.019926 | 0.013314 | 0.0061283 | 0.015907 | 0.020163 | 0.0095058 | 0.022206 | 0.0091862 | 0.005388 | 0.032856 | 42.9678 | 18.2271 | 9.8383 | 8.64 | 14.9661 | 52.4362 | 0.32379 | 33.9203 | 18.7719 | 0.71664 | 4.9532 | 11.7891 | 0.81118
013-12A-AdditionalGrains | 22 | 433 | 8 | 0.066428 | 0.06403 | 0.15731 | 0.73662 | 0.15668 | 0.26845 | 54.0623 | 0.094611 | 0.11883 | 40.6898 | 0.20025 | 0.033511 | 3.6442 | -1.5421 | 98.7509 |  | 0.023468 | 0.034815 | 0.032894 | 0.019915 | 0.013306 | 0.0061333 | 0.015906 | 0.020186 | 0.0095139 | 0.022229 | 0.0091937 | 0.005392 | 0.033227 | 28.3415 | 40.3011 | 16.3842 | 3.037 | 7.0797 | 2.3936 | 0.32735 | 18.8044 | 7.1881 | 0.72019 | 5.0283 | 13.7143 | 0.76271
013-12A-AdditionalGrains | 22 | 434 | 10 | 0.11843 | 0.33859 | 0.79106 | 0.39441 | 0.1463 | 0.08688 | 52.9433 | 0.095858 | 0.41072 | 38.4956 | 1.2007 | 0.22081 | 2.7236 | -1.1967 | 96.7695 | LOW TOTALS | 0.023639 | 0.035148 | 0.033204 | 0.020112 | 0.013438 | 0.0062013 | 0.016036 | 0.020376 | 0.0096015 | 0.022394 | 0.0092537 | 0.005438 | 0.032573 | 17.3132 | 9.0434 | 4.3308 | 4.8318 | 7.5605 | 5.928 | 0.33036 | 18.7204 | 2.9007 | 0.74034 | 1.6573 | 3.4531 | 0.92188
013-12A-AdditionalGrains | 22 | 435 | 11 | 0.21918 | 0.066177 | 0.17599 | 0.36936 | 0.10547 | 0.026813 | 54.2247 | 0.038859 | 0.027439 | 40.8159 | 0.015642 | 0.92447 | 2.7838 | -1.3808 | 98.413 |  | 0.023434 | 0.034875 | 0.032948 | 0.019937 | 0.013322 | 0.00612 | 0.015931 | 0.020152 | 0.009491 | 0.022194 | 0.0091862 | 0.005394 | 0.032864 | 10.5441 | 39.1111 | 14.8245 | 5.0621 | 10.0243 | 17.0721 | 0.32672 | 40.6106 | 26.1175 | 0.717 | 43.7232 | 1.5136 | 0.91267
013-12A-AdditionalGrains | 22 | 436 | 12 | 0.06274 | 0.16706 | 0.46891 | 0.42401 | 0.1258 | 0.14679 | 53.1189 | 0.15876 | 0.2626 | 40.5544 | 0.62787 | 0.42195 | 2.1663 | -1.0074 | 97.6986 |  | 0.023508 | 0.03495 | 0.033019 | 0.019992 | 0.013358 | 0.0061466 | 0.015963 | 0.020226 | 0.009518 | 0.022274 | 0.0092212 | 0.005414 | 0.033014 | 29.8499 | 16.589 | 6.4465 | 4.5547 | 8.5888 | 3.8002 | 0.32997 | 12.4896 | 3.9224 | 0.72029 | 2.4022 | 2.3407 | 1.0906
013-12A-AdditionalGrains | 22 | 437 | 13 | 0.10826 | 0.34079 | 0.91825 | 0.41357 | 0.13885 | 0.1815 | 52.5655 | 0.21932 | 0.25589 | 39.0141 | 0.83139 | 0.24682 | 2.3507 | -1.0456 | 96.5394 | LOW TOTALS | 0.023658 | 0.035189 | 0.033243 | 0.020137 | 0.013455 | 0.006203 | 0.016054 | 0.020392 | 0.0096096 | 0.022423 | 0.0092736 | 0.005447 | 0.032878 | 18.6702 | 8.9987 | 3.8867 | 4.6586 | 7.917 | 3.2338 | 0.33131 | 9.8781 | 4.0186 | 0.73518 | 2.0399 | 3.2225 | 1.0254
013-12A-AdditionalGrains | 22 | 438 | 14 | 0.16473 | BDL | 0.070786 | 0.48655 | 0.1779 | 0.17668 | 54.0277 | 0.035381 | 0.060704 | 40.3622 | 0.16028 | 0.58654 | 2.1025 | -1.0177 | 97.4201 |  | 0.023414 | 0.034824 | 0.032901 | 0.019908 | 0.013303 | 0.0061118 | 0.015907 | 0.020132 | 0.0094748 | 0.022174 | 0.0091763 | 0.005386 | 0.033323 | 13.1475 | 96.7452 | 34.4895 | 4.0955 | 6.351 | 3.2677 | 0.32715 | 44.1928 | 12.6405 | 0.72089 | 5.8927 | 1.9395 | 1.1209
013-12A-AdditionalGrains | 22 | 439 | 15 | 0.10346 | 0.27401 | 0.64533 | 0.3361 | 0.085336 | 0.1516 | 53.7703 | 0.29485 | 0.11482 | 40.2029 | 0.13923 | 0.39385 | 2.6707 | -1.2135 | 97.969 |  | 0.023576 | 0.035081 | 0.033141 | 0.020067 | 0.013408 | 0.0061714 | 0.016008 | 0.020303 | 0.0095678 | 0.022355 | 0.0092462 | 0.005427 | 0.032936 | 19.3455 | 10.787 | 5.0355 | 5.4709 | 12.1981 | 3.7136 | 0.32756 | 8.0011 | 7.4104 | 0.72361 | 6.571 | 2.434 | 0.93847
013-12A-AdditionalGrains | 22 | 440 | 16 | 0.14955 | BDL | 0.036143 | 0.27328 | 0.10036 | 0.012514 | 54.6715 | 0.023771 | 0.036296 | 41.0401 | 0.027484 | 0.015644 | 2.7612 | -1.1663 | 97.9768 |  | 0.023364 | 0.03473 | 0.032816 | 0.019852 | 0.013265 | 0.0060985 | 0.01586 | 0.020077 | 0.0094573 | 0.022128 | 0.0091638 | 0.005371 | 0.032505 | 14.181 | -512.42 | 65.816 | 6.4266 | 10.4456 | 35.4016 | 0.32498 | 63.745 | 20.0724 | 0.71459 | 25.739 | 26.7288 | 0.91549
013-12A-AdditionalGrains | 22 | 441 | 17 | 0.14073 | 0.11193 | 0.29225 | 0.36759 | 0.13213 | 0.024681 | 53.9599 | 0.063561 | 0.081875 | 40.1851 | 0.021252 | 0.21626 | 2.6049 | -1.1457 | 97.0564 |  | 0.023454 | 0.034883 | 0.032956 | 0.019946 | 0.013327 | 0.0061317 | 0.015923 | 0.020175 | 0.0095085 | 0.022217 | 0.0091962 | 0.005393 | 0.032983 | 14.9323 | 23.8634 | 9.5084 | 5.0802 | 8.2115 | 18.4996 | 0.32696 | 26.2696 | 9.7823 | 0.72252 | 32.7688 | 3.4863 | 0.95723
013-12A-AdditionalGrains | 22 | 442 | 18 | 0.086675 | BDL | BDL | 0.19972 | 0.059075 | 0.012357 | 54.4098 | 0.11589 | 0.028614 | 40.6933 | 0.10855 | 0.099544 | 2.4832 | -1.0681 | 97.2492 |  | 0.023362 | 0.034749 | 0.032832 | 0.01986 | 0.01327 | 0.0060952 | 0.015867 | 0.020076 | 0.0094519 | 0.022132 | 0.0091638 | 0.005373 | 0.032503 | 22.3513 | 189.116 | 308.694 | 8.3552 | 16.993 | 35.8241 | 0.32581 | 15.8766 | 25.0165 | 0.71769 | 7.9187 | 5.8506 | 0.98588
013-12A-AdditionalGrains | 22 | 443 | 19 | 0.68982 | 0.25548 | 0.82977 | 0.3795 | 0.64753 | 0.10205 | 50.7008 | BDL | 0.52086 | 39.7054 | 0.39939 | 0.49173 | 2.3934 | -1.1188 | 96.004 | LOW TOTALS | 0.023631 | 0.035109 | 0.033166 | 0.020101 | 0.01343 | 0.0061947 | 0.01604 | 0.020355 | 0.0095867 | 0.022384 | 0.0092811 | 0.005451 | 0.032764 | 4.8042 | 11.4535 | 4.1745 | 4.9736 | 2.358 | 5.16 | 0.33736 | 209.526 | 2.4799 | 0.72776 | 3.1757 | 2.1477 | 1.0098
013-12A-AdditionalGrains | 22 | 444 | 20 | 0.028873 | 0.044193 | 0.047538 | 0.10398 | 0.18168 | 0.01316 | 55.158 | 0.055737 | 0.049623 | 40.1401 | 0.20966 | 0.030103 | 3.1311 | -1.3253 | 97.8684 |  | 0.023373 | 0.034754 | 0.032836 | 0.019862 | 0.013272 | 0.0061051 | 0.015861 | 0.020098 | 0.0094694 | 0.022137 | 0.0091538 | 0.005368 | 0.032374 | 60.7127 | 57.4617 | 50.4649 | 14.8755 | 6.2287 | 33.7507 | 0.32339 | 29.3659 | 15.1206 | 0.72266 | 4.8495 | 14.9607 | 0.83927
013-12A-AdditionalGrains | 22 | 445 | 21 | 0.032003 | 0.048355 | 0.12956 | 0.40409 | 0.098211 | 0.16653 | 53.4544 | 0.11216 | 0.029015 | 40.3206 | 0.016858 | 0.35652 | 1.6973 | -0.79516 | 96.0704 | LOW TOTALS | 0.02341 | 0.034827 | 0.032905 | 0.01991 | 0.013303 | 0.0061084 | 0.015903 | 0.020123 | 0.0094694 | 0.02218 | 0.0091813 | 0.005386 | 0.032926 | 55.1795 | 52.779 | 19.5646 | 4.716 | 10.6748 | 3.4208 | 0.32875 | 16.3229 | 24.7309 | 0.72118 | 40.7081 | 2.5755 | 1.3055
013-12A-AdditionalGrains | 22 | 446 | 22 | 0.12428 | 0.068841 | 0.21581 | 0.23763 | 0.043492 | 0.022703 | 54.0555 | 0.042382 | 0.029934 | 40.1947 | 0.015253 | 0.39948 | 3.1885 | -1.4328 | 97.2057 |  | 0.023411 | 0.03482 | 0.032898 | 0.019903 | 0.0133 | 0.0061167 | 0.015896 | 0.020133 | 0.009487 | 0.022174 | 0.0091738 | 0.005382 | 0.032994 | 16.5101 | 37.6123 | 12.3483 | 7.2248 | 22.7241 | 19.9866 | 0.32677 | 37.5142 | 24.0663 | 0.7222 | 44.7271 | 2.409 | 0.83266
013-12A-AdditionalGrains | 22 | 447 | 23 | 0.096821 | 0.17553 | 0.40281 | 0.47627 | 0.1646 | 0.20823 | 53.6886 | 0.17274 | 0.31048 | 39.89 | 0.77377 | 0.3421 | 2.212 | -1.0087 | 97.9053 |  | 0.023495 | 0.034932 | 0.033002 | 0.01998 | 0.01335 | 0.0061449 | 0.015949 | 0.020226 | 0.0095166 | 0.022263 | 0.0092062 | 0.005407 | 0.033029 | 20.4151 | 15.8619 | 7.2821 | 4.1664 | 6.7978 | 2.8904 | 0.3278 | 11.7152 | 3.4856 | 0.7257 | 2.122 | 2.6409 | 1.0743
013-12A-AdditionalGrains | 22 | 448 | 24 | 0.062227 | 0.19121 | 0.4299 | 0.39075 | 0.069086 | 0.20665 | 53.1853 | 0.28743 | 0.13722 | 40.1729 | 0.44334 | 0.38616 | 2.2181 | -1.0212 | 97.1591 |  | 0.023496 | 0.034952 | 0.033022 | 0.019989 | 0.013356 | 0.0061416 | 0.015959 | 0.020221 | 0.009518 | 0.022277 | 0.0092187 | 0.005411 | 0.033112 | 30.0515 | 14.7066 | 6.9098 | 4.8486 | 14.7673 | 2.905 | 0.32939 | 8.124 | 6.3943 | 0.72323 | 2.9654 | 2.461 | 1.0732
013-12A-AdditionalGrains | 22 | 449 | 25 | 0.17239 | 0.13694 | 0.32502 | 0.57232 | 0.1842 | 0.051511 | 52.9873 | 0.076386 | 0.11478 | 39.79 | 0.058964 | 0.29313 | 2.382 | -1.0692 | 96.0758 | LOW TOTALS | 0.023475 | 0.034904 | 0.032975 | 0.019962 | 0.013338 | 0.0061399 | 0.015935 | 0.020198 | 0.0095193 | 0.022238 | 0.0092037 | 0.0054 | 0.033942 | 12.7031 | 19.8342 | 8.6931 | 3.6344 | 6.1755 | 9.3364 | 0.32986 | 22.464 | 7.387 | 0.72608 | 13.1001 | 2.8932 | 1.0309
013-12A-AdditionalGrains | 22 | 450 | 26 | 0.053666 | BDL | BDL | 0.24477 | 0.093832 | 0.006713 | 55.3421 | 0.040292 | 0.042551 | 41.074 | 0.077208 | 0.13029 | 3.0534 | -1.3152 | 98.8517 |  | 0.023345 | 0.034702 | 0.03279 | 0.019835 | 0.013253 | 0.0060952 | 0.015846 | 0.020064 | 0.0094519 | 0.022109 | 0.0091488 | 0.005364 | 0.03278 | 34.1501 | -141.85 | 93.9189 | 7.033 | 11.0894 | 65.1358 | 0.32286 | 39.1529 | 17.3445 | 0.71402 | 10.4011 | 4.845 | 0.85681
013-12A-AdditionalGrains | 22 | 451 | 27 | 0.22825 | BDL | 0.13085 | 0.13554 | 0.064491 | 0.011615 | 54.3319 | 0.034113 | 0.055239 | 40.7341 | 0.011959 | 0.018277 | 2.6446 | -1.1178 | 97.3092 |  | 0.02338 | 0.034774 | 0.032854 | 0.019875 | 0.01328 | 0.0061035 | 0.015875 | 0.020095 | 0.0094627 | 0.022144 | 0.0091713 | 0.005377 | 0.033124 | 10.2086 | 96.026 | 19.3608 | 11.7203 | 15.6674 | 38.0994 | 0.32583 | 45.6172 | 13.7271 | 0.71697 | 56.4395 | 23.2305 | 0.94972
013-12A-AdditionalGrains | 22 | 452 | 28 | 0.041032 | 0.12688 | 0.36638 | 0.27447 | 0.1008 | 0.15421 | 53.3402 | 0.38554 | 0.20886 | 40.4758 | 0.64236 | 0.31599 | 2.3556 | -1.0633 | 97.7249 |  | 0.023456 | 0.034886 | 0.032961 | 0.019951 | 0.013331 | 0.0061283 | 0.015934 | 0.02018 | 0.0094937 | 0.022245 | 0.0092062 | 0.005404 | 0.032499 | 43.8405 | 21.2576 | 7.8651 | 6.4207 | 10.4412 | 3.644 | 0.32889 | 6.6647 | 4.6232 | 0.72039 | 2.3674 | 2.7687 | 1.0203
013-12A-AdditionalGrains | 22 | 453 | 29 | 0.038232 | BDL | 0.080804 | 0.24827 | 0.051899 | BDL | 55.249 | 0.091055 | 0.033134 | 41.5949 | 0.16137 | 0.010417 | 2.7849 | -1.1751 | 99.1607 |  | 0.023349 | 0.034709 | 0.032797 | 0.01984 | 0.013257 | 0.0060935 | 0.015851 | 0.020064 | 0.0094492 | 0.022119 | 0.0091588 | 0.005369 | 0.033034 | 46.6238 | -208.78 | 30.3245 | 6.9515 | 19.1706 | 126.339 | 0.32314 | 19.3013 | 21.8187 | 0.7096 | 5.8569 | 38.9299 | 0.91525
013-12A-AdditionalGrains | 22 | 454 | 31 | 0.10035 | 0.23973 | 0.40516 | 0.12899 | 0.074935 | BDL | 54.2913 | 0.046884 | 0.05594 | 40.7546 | 0.012332 | 0.15344 | 3.4058 | -1.4688 | 98.2042 |  | 0.023463 | 0.034888 | 0.032962 | 0.01995 | 0.013329 | 0.0061383 | 0.015921 | 0.020186 | 0.009518 | 0.022226 | 0.0091987 | 0.005395 | 0.033226 | 19.7802 | 12.0497 | 7.2423 | 12.2842 | 13.6757 | 126.661 | 0.32581 | 34.3418 | 13.6418 | 0.71742 | 54.9431 | 4.3502 | 0.79749
013-12A-AdditionalGrains | 22 | 455 | 32 | 0.36224 | 0.14079 | 0.22667 | 0.37503 | 0.37069 | 0.11473 | 53.344 | 0.065515 | 0.13816 | 40.8112 | 0.059031 | 0.84272 | 2.3802 | -1.1925 | 98.0385 |  | 0.023442 | 0.03487 | 0.032942 | 0.019943 | 0.013325 | 0.006125 | 0.015933 | 0.020163 | 0.0094924 | 0.022206 | 0.0091962 | 0.0054 | 0.033224 | 7.3177 | 19.3223 | 11.8351 | 4.9986 | 3.5228 | 4.6336 | 0.32886 | 25.5723 | 6.347 | 0.71622 | 13.0789 | 1.59 | 1.0218
013-12A-AdditionalGrains | 22 | 456 | 33 | 0.10283 | 0.14223 | 0.48381 | 0.30984 | 0.036609 | 0.012246 | 53.668 | 0.042223 | 0.15204 | 40.5165 | 0.21037 | 0.18643 | 3.3028 | -1.4329 | 97.733 |  | 0.023463 | 0.034871 | 0.032947 | 0.019943 | 0.013325 | 0.0061383 | 0.01592 | 0.020186 | 0.0095153 | 0.022224 | 0.0091987 | 0.005396 | 0.033014 | 19.3768 | 19.1458 | 6.2773 | 5.8177 | 26.8279 | 36.3844 | 0.32775 | 37.7272 | 5.9018 | 0.71962 | 4.8499 | 3.832 | 0.81183
013-12A-AdditionalGrains | 22 | 457 | 35 | 0.044463 | 0.1542 | 0.31109 | 0.35362 | 0.10556 | 0.21094 | 52.2525 | 0.26207 | 0.13702 | 39.7576 | 0.30979 | 0.38224 | 1.8581 | -0.86869 | 95.2705 | LOW TOTALS | 0.023453 | 0.034886 | 0.03296 | 0.01995 | 0.013329 | 0.006125 | 0.015933 | 0.020173 | 0.0094897 | 0.022233 | 0.0092037 | 0.005401 | 0.034153 | 40.7043 | 17.8006 | 9.0167 | 5.2367 | 10.0175 | 2.854 | 0.33224 | 8.6477 | 6.3868 | 0.72642 | 3.728 | 2.474 | 1.24
013-12A-AdditionalGrains | 22 | 458 | 39 | 0.067914 | 0.25523 | 0.49049 | 0.36384 | 0.077011 | 0.14812 | 53.6389 | 0.26708 | 0.14189 | 40.272 | 0.46496 | 0.38292 | 2.4762 | -1.1291 | 97.9173 |  | 0.023513 | 0.034979 | 0.033046 | 0.020006 | 0.013368 | 0.0061499 | 0.015968 | 0.02024 | 0.0095328 | 0.02229 | 0.0092212 | 0.005414 | 0.033462 | 27.8126 | 11.4367 | 6.2194 | 5.1282 | 13.3669 | 3.7733 | 0.32783 | 8.5506 | 6.2342 | 0.7222 | 2.8782 | 2.4723 | 0.99601
013-12A-AdditionalGrains | 22 | 459 | 40 | 0.10051 | BDL | 0.091149 | 0.31871 | 0.22958 | 0.1942 | 53.8398 | 0.11678 | 0.15249 | 41.02 | 0.43919 | 0.4848 | 1.9719 | -0.93977 | 98.0319 |  | 0.023366 | 0.034741 | 0.032824 | 0.019862 | 0.013271 | 0.0060952 | 0.015875 | 0.020083 | 0.0094425 | 0.022135 | 0.0091663 | 0.00538 | 0.034044 | 19.6897 | 195.904 | 27.0824 | 5.6741 | 5.1284 | 3.0304 | 0.32742 | 15.7799 | 5.8519 | 0.71438 | 2.977 | 2.1573 | 1.1857

## aliquot_2-26-2017
Electron Microprobe Analyses
Customer: D. Issler/L. Lane/NRC
Date: 2/26/2017
Project: Apatite
*Excess Oxygen from Halogens
BDL = Below Detection Limit
Sample Information |  |  |  | Concentrations (in wt. %) | [15 empty] | Detection Limits (in wt. %) | [12 empty] | Analytical Error (Counting Statistics, in relative %, 1-σ) | [12 empty] | Adjusted Grain Locations
Sample Name | Number | Line | Grain # | Y2O3 | La2O3 | Ce2O3 | FeO | MnO | MgO | CaO | SrO | Na2O | P2O5 | SO3 | Cl | F | O* | Total | Spurious? | Y2O3 | La2O3 | Ce2O3 | FeO | MnO | MgO | CaO | SrO | Na2O | P2O5 | SO3 | Cl | F | Y2O3 | La2O3 | Ce2O3 | FeO | MnO | MgO | CaO | SrO | Na2O | P2O5 | SO3 | Cl | F | X Position | Y Position | Z Position
013-12A_LengthGrains | 16 | 380 | 1 | 0.055628 | 0.090102 | 0.19821 | 0.41233 | 0.062439 | 0.27281 | 54.2786 | 0.14236 | 0.09539 | 40.6865 | 0.13588 | 0.21471 | 2.7942 | -1.2251 | 98.214 |  | 0.022986 | 0.036009 | 0.034112 | 0.020589 | 0.013599 | 0.0060637 | 0.015562 | 0.01998 | 0.0092295 | 0.020588 | 0.0094459 | 0.0057 | 0.030091 | 32.4109 | 30.0983 | 13.7659 | 4.7508 | 16.4908 | 2.3479 | 0.32247 | 13.3276 | 8.4475 | 0.69891 | 6.7293 | 3.5635 | 0.8375 | 14.0912 | 49.435 | 10.5505
013-12A_LengthGrains | 16 | 381 | 2 | 0.080262 | 0.13062 | 0.32205 | 0.22839 | 0.079231 | 0.016268 | 54.4246 | 0.038331 | 0.015441 | 39.844 | 0.14281 | 0.33627 | 2.6375 | -1.1865 | 97.1092 |  | 0.023013 | 0.0361 | 0.034202 | 0.020646 | 0.013635 | 0.0060803 | 0.015591 | 0.020007 | 0.0092592 | 0.02061 | 0.0094534 | 0.005706 | 0.029968 | 23.3952 | 21.359 | 9.0525 | 7.6832 | 13.2542 | 27.3702 | 0.32196 | 40.6931 | 44.1531 | 0.70579 | 6.4774 | 2.6996 | 0.87112 | 15.3279 | 50.1225 | 10.543
013-12A_LengthGrains | 16 | 382 | 3 | 0.10142 | 0.3288 | 0.66744 | 0.34048 | 0.067673 | 0.16119 | 53.0423 | 0.29626 | 0.1085 | 39.0402 | 0.26271 | 0.3862 | 2.1427 | -0.98943 | 95.9564 | LOW TOTALS | 0.023138 | 0.0363 | 0.034407 | 0.020794 | 0.013732 | 0.0061283 | 0.015679 | 0.02013 | 0.0093279 | 0.02076 | 0.0095158 | 0.005748 | 0.030758 | 19.191 | 9.5125 | 5.0605 | 5.5536 | 15.4227 | 3.5208 | 0.32597 | 7.8218 | 7.6552 | 0.71417 | 4.1806 | 2.4912 | 1.0182 | 15.3563 | 50.1908 | 10.541
013-12A_LengthGrains | 16 | 383 | 4 | 0.076198 | 0.13992 | 0.35319 | 0.21398 | 0.061315 | 0.011899 | 54.4317 | 0.070095 | 0.045589 | 40.5932 | 0.18327 | 0.026682 | 3.0614 | -1.2951 | 97.9733 |  | 0.023009 | 0.03606 | 0.034164 | 0.020622 | 0.013621 | 0.0060786 | 0.015577 | 0.02 | 0.0092551 | 0.020607 | 0.0094559 | 0.005705 | 0.029769 | 24.4853 | 20.0363 | 8.3713 | 8.1137 | 16.7958 | 37.0661 | 0.32192 | 23.8275 | 16.0487 | 0.69955 | 5.3822 | 17.3889 | 0.78416 | 10.8046 | 50.5997 | 10.57
013-12A_LengthGrains | 16 | 384 | 6 | 0.075538 | 0.36794 | 0.86985 | 0.44046 | 0.13412 | 0.085249 | 51.55 | 0.10493 | 0.35018 | 37.7431 | 1.0646 | 0.24014 | 2.5823 | -1.1416 | 94.4667 | LOW TOTALS | 0.023179 | 0.036309 | 0.034418 | 0.020812 | 0.013742 | 0.0061516 | 0.015686 | 0.020176 | 0.0093549 | 0.02078 | 0.0095183 | 0.005755 | 0.029912 | 24.8234 | 8.6656 | 4.1573 | 4.5391 | 8.3013 | 5.9887 | 0.33071 | 17.1112 | 3.2104 | 0.7268 | 1.7585 | 3.3289 | 0.88033 | 11.8378 | 51.419 | 10.565
013-12A_LengthGrains | 16 | 385 | 7 | 0.11257 | 0.33378 | 0.90467 | 0.43267 | 0.12687 | 0.17267 | 51.3272 | 0.21788 | 0.22077 | 37.5518 | 0.78422 | 0.25749 | 2.475 | -1.1003 | 93.8173 | LOW TOTALS | 0.02319 | 0.036342 | 0.034451 | 0.020832 | 0.013757 | 0.0061532 | 0.015699 | 0.020187 | 0.009363 | 0.020804 | 0.0095308 | 0.00576 | 0.03045 | 17.5985 | 9.3996 | 4.0418 | 4.6038 | 8.7239 | 3.3464 | 0.33132 | 9.7401 | 4.4358 | 0.72871 | 2.0963 | 3.1866 | 0.91329 | 12.5919 | 51.4532 | 10.5585
013-12A_LengthGrains | 16 | 386 | 8 | 0.13171 | BDL | 0.10282 | 0.35586 | 0.093522 | 0.023657 | 54.2624 | 0.049669 | 0.037351 | 40.2718 | 0.013432 | 0.93021 | 2.8972 | -1.4299 | 97.755 |  | 0.022948 | 0.035998 | 0.034099 | 0.020575 | 0.01359 | 0.0060537 | 0.01556 | 0.019943 | 0.009216 | 0.020545 | 0.0094235 | 0.005692 | 0.030047 | 15.3198 | 168.066 | 25.0872 | 5.3304 | 11.3606 | 19.0326 | 0.32263 | 32.1291 | 19.1579 | 0.70147 | 51.7072 | 1.517 | 0.81658 | 11.5082 | 51.4584 | 10.566
013-12A_LengthGrains | 16 | 387 | 9 | 0.11129 | 0.28887 | 0.68965 | 0.35388 | 0.058775 | 0.15022 | 52.4086 | 0.30752 | 0.10431 | 38.8652 | 0.15327 | 0.40378 | 2.2477 | -1.0376 | 95.1054 | LOW TOTALS | 0.023136 | 0.036289 | 0.034397 | 0.020787 | 0.013727 | 0.0061267 | 0.015677 | 0.020126 | 0.0093252 | 0.020758 | 0.0095183 | 0.005748 | 0.030602 | 17.7356 | 10.6076 | 4.9357 | 5.3839 | 17.5899 | 3.7234 | 0.32795 | 7.623 | 7.9045 | 0.7158 | 6.1642 | 2.4271 | 0.98118 | 10.4098 | 52.0392 | 10.5685
013-12A_LengthGrains | 16 | 388 | 10 | 0.087666 | 0.31299 | 0.75969 | 0.24829 | 0.14764 | 0.099278 | 52.1377 | 0.090165 | 0.3233 | 38.3457 | 0.76384 | 0.23532 | 2.6661 | -1.1758 | 95.0418 | LOW TOTALS | 0.023133 | 0.036246 | 0.034354 | 0.020763 | 0.01371 | 0.0061317 | 0.015658 | 0.020129 | 0.0093239 | 0.020732 | 0.0095034 | 0.005742 | 0.030886 | 21.7561 | 9.9042 | 4.5883 | 7.1874 | 7.62 | 5.2431 | 0.32882 | 19.3544 | 3.3821 | 0.72059 | 2.1275 | 3.3687 | 0.87231 | 11.0045 | 52.0928 | 10.5655
013-12A_LengthGrains | 16 | 389 | 11 | 0.082613 | 0.12065 | 0.24776 | 0.30114 | 0.11843 | 0.023365 | 53.7891 | 0.041825 | 0.079992 | 40.3401 | 0.011966 | 0.23947 | 2.4945 | -1.1045 | 96.7864 | LOW TOTALS | 0.022993 | 0.036043 | 0.034146 | 0.020611 | 0.013613 | 0.0060703 | 0.015573 | 0.019981 | 0.0092389 | 0.020588 | 0.0094509 | 0.005702 | 0.030199 | 22.7969 | 22.9483 | 11.3197 | 6.1018 | 9.2022 | 19.308 | 0.32388 | 37.5513 | 9.7976 | 0.70139 | 57.949 | 3.3249 | 0.90819 | 12.7731 | 52.5634 | 10.5575
013-12A_LengthGrains | 16 | 390 | 12 | 0.076153 | BDL | BDL | 0.2021 | 0.053614 | 0.023021 | 53.3157 | 0.12166 | 0.019479 | 38.9092 | 0.092409 | 0.096147 | 2.1697 | -0.93534 | 94.1592 | LOW TOTALS | 0.022947 | 0.035999 | 0.034099 | 0.020567 | 0.013585 | 0.0060487 | 0.015548 | 0.019939 | 0.0092093 | 0.020547 | 0.0094285 | 0.005687 | 0.030498 | 24.4424 | -276.07 | 99.5817 | 8.5053 | 19.0118 | 19.5189 | 0.32542 | 15.0556 | 35.1811 | 0.71408 | 9.1134 | 6.1601 | 1.009 | 12.8874 | 53.0971 | 10.557
013-12A_LengthGrains | 16 | 391 | 13 | 0.045109 | 0.14689 | 0.3708 | 0.38117 | 0.077754 | 0.19205 | 53.8873 | 0.29964 | 0.15501 | 39.9884 | 0.45936 | 0.37927 | 2.2664 | -1.04 | 97.6092 |  | 0.023043 | 0.036128 | 0.034233 | 0.020673 | 0.013653 | 0.0060869 | 0.015614 | 0.020036 | 0.0092619 | 0.020657 | 0.0094734 | 0.005721 | 0.030755 | 39.336 | 19.1965 | 8.0498 | 5.0619 | 13.4989 | 3.0575 | 0.32363 | 7.7436 | 5.7409 | 0.70532 | 2.8933 | 2.5167 | 0.97868 | 18.0498 | 53.7993 | 10.513
013-12A_LengthGrains | 16 | 392 | 14 | 0.027393 | BDL | 0.074461 | 0.078703 | 0.15783 | 0.009705 | 55.0722 | 0.068085 | 0.05635 | 40.5597 | 0.21071 | 0.02125 | 3.2014 | -1.3529 | 98.1591 |  | 0.022925 | 0.035924 | 0.034027 | 0.020523 | 0.013557 | 0.0060438 | 0.01552 | 0.01992 | 0.0092025 | 0.020517 | 0.0094135 | 0.005678 | 0.029834 | 62.4558 | -96.453 | 33.9626 | 19.801 | 7.1368 | 44.9842 | 0.32009 | 24.3545 | 13.2254 | 0.69933 | 4.8557 | 21.1996 | 0.76267 | 11.1654 | 53.5019 | 10.566
013-12A_LengthGrains | 16 | 393 | 15 | 0.045312 | BDL | BDL | 0.23837 | 0.091777 | 0.013264 | 54.8398 | 0.054955 | 0.051233 | 40.5972 | 0.080532 | 0.14087 | 2.8601 | -1.2362 | 97.7915 |  | 0.022922 | 0.035929 | 0.03403 | 0.020526 | 0.013558 | 0.0060421 | 0.015523 | 0.019915 | 0.0091985 | 0.020515 | 0.009416 | 0.005679 | 0.030027 | 38.995 | 345.191 | 353.402 | 7.3831 | 11.5351 | 33.1564 | 0.32077 | 29.3443 | 14.3824 | 0.6988 | 10.1934 | 4.6994 | 0.825 | 15.2799 | 54.515 | 10.537
013-12A_LengthGrains | 16 | 394 | 16 | 0.053074 | 0.10218 | 0.30744 | 0.26374 | 0.1105 | 0.13586 | 52.154 | 0.357 | 0.20458 | 38.7594 | 0.62985 | 0.31833 | 2.1475 | -0.9761 | 94.5672 | LOW TOTALS | 0.023103 | 0.036225 | 0.034322 | 0.020721 | 0.013686 | 0.0061001 | 0.015657 | 0.020085 | 0.009278 | 0.020713 | 0.0095009 | 0.005738 | 0.030354 | 33.9833 | 26.9049 | 9.4469 | 6.8355 | 9.8363 | 4.0286 | 0.33016 | 6.8983 | 4.6683 | 0.71888 | 2.3927 | 2.8038 | 1.0139 | 8.8859 | 54.921 | 10.575
013-12A_LengthGrains | 16 | 395 | 17 | 0.04795 | 0.12699 | 0.27403 | 0.35364 | 0.056384 | 0.2616 | 53.0461 | 0.22136 | 0.13078 | 39.8236 | 0.23369 | 0.36789 | 2.1685 | -0.99618 | 96.1164 | LOW TOTALS | 0.023115 | 0.03623 | 0.034327 | 0.020723 | 0.013687 | 0.0060985 | 0.01566 | 0.02009 | 0.009278 | 0.020711 | 0.0095034 | 0.005737 | 0.030639 | 37.3103 | 22.0007 | 10.4263 | 5.3888 | 18.2561 | 2.4322 | 0.32766 | 9.6176 | 6.5728 | 0.70959 | 4.5449 | 2.5729 | 1.0113 | 9.9751 | 55.8012 | 10.5685

## Analytical_Conditions
Electron Microprobe Analyses - Conditions
Customer: D. Issler/L. Lane/NRC
Date:10/9/2016 and 2/26/2017
Project: Apatite
MAN = Background corrections made using the Kramer's Rule Method of Donovan and Tingle (1996)
J.J. Donovan and T.N. Tingle, An Improved Mean Atomic Number Correction for Quantitative Microanalysis in Journal of Microscopy, v. 2, 1, p. 1-7, 1996
**Correction for time-dependant intensity changes after Donvan et al., 2007.
Apatite
Instrument | Intensity Correction | Accelerating Voltage (kV) | Beam Current (nA) | Beam Size (µm)
JEOL JXA-8500F, WSU GeoAnalytical Lab | ZAF (Armstrong-Love/Scott) | 15 | 20 | 5
Element | Peak Counting Time (s) | Low Background Counting Time (s) | High Background Counting Time (s) | Spectrometer # | Analyzing Crystal | Calibration Standard
Y2O3 | 60 | MAN | MAN | 4 | PETJ | YAG Synthetic Garnet (C.M. Taylor)
La2O3 | 40 | MAN | MAN | 3 | LiFH | LaPO4 (NMNH 168490)
Ce2O3 | 40 | MAN | MAN | 3 | LiFH | CeO2 (C.M. Taylor)
FeO | 20 | MAN | MAN | 3 | LiFH | Pyrite #3 (C.M. Taylor)
MnO | 40 | MAN | MAN | 3 | LiFH | Spessartine (C.M. Taylor)
MgO | 80 | MAN | MAN | 5 | TAP | MgF2 (C.M. Taylor)
CaO | 15 | MAN | MAN | 2 | PETJ | Wollastonite #2 (C.M. Taylor)
SrO | 60 | MAN | MAN | 4 | PETJ | SrTiO3 (C.M. Taylor)
Na2O | 50 | MAN | MAN | 5 | TAP | Albite #4 (C.M. Taylor)
P2O5 | 15 | MAN | MAN | 4 | PETJ | Durango Fluoroapatite (NMNH 104021)
SO3 | 80 | MAN | MAN | 2 | PETJ | Anhydrite #4 (C.M. Taylor)
Cl** | 40 | MAN | MAN | 2 | PETJ | KCl (Fisher Sci.)
F** | 80 | 40 | 40 | 1 | LDE1 | MgF2 (C.M. Taylor)